## Slide 1
DEPARTMENT OF ELECTRONICS AND COMMUNICATION ENGINEERING
INTERNSHIP PRESENTATION
ON
“FINAL INSPECTION OF CATREDGE”
CARRIED OUT AT: STANLEY ENGINEERED FASTENING PVT. LTD.
Under the guidance of:
Dr. Praveen Reddy
Presented by:
MOHD AFTAB AHMED
(3GN21EC043)

## Slide 2: INDEX
INTRODUCTION
OBJECTIVE OF THE INTERNSHIP
COMPANY OVERVIEW
INSPECTION PROCESS OVERVIEW
FINAL INSPECTION PROCEDURE
TOOLS
SAFETY AND EQUIPMENT USED
QUALITY CONTROL PARAMETERS
CHALLENGES FACED
LEARNINGS AND SKILLS GAINED
CONCLUSION

## Slide 3: INTRODUCTION
Stanley Engineered Fastening, a division of Stanley Black & Decker, is a trusted global supplier of precision fastening and assembly solutions. In the medical sector, the company plays a vital role in supporting the assembly of critical components such as cartridges used in diagnostic and drug delivery devices. This internship focuses on learning the importance of Quality Assurance & Quality Control especially during the final inspection process. Maintaining high standards ensures product reliability, patient safety, and upholds the company’s strong reputation in the healthcare industry.

## Slide 4: Company Overview
Stanley Engineered Fastening, a division of Stanley Black & Decker, delivers high-performance fasteners and cartridges. Known for innovation, precision, and safety, their products are essential in industrial, construction, and medical applications where reliable fastening is critical.

## Slide 5: OBJECTIVES OF THE INTERNSHIP
The key goals of this internship include:
Learning the detailed process involved in final inspection.
Understanding industry-level quality standards.
Contributing to real-time quality assurance tasks.
Gaining hands-on experience in an industrial environment with a focus on cartridge production.

## Slide 6: WHAT IS A CARTRIDGE?
This cartridge appears to be part of a diagnostic or testing device. Its design suggests it plays a role in fluid or sample processing, likely for medical or scientific applications. The overall structure suggests it enables controlled movement of fluids and possibly chemical reactions, making it a crucial part of a diagnostic tool.

## Slide 7
KEY FEATURES:
QR Code: The code labeled "SA: 508621419804" suggests it can be scanned for information or tracking.
White Cylindrical Objects: Likely components used in sample processing or filtration.
Maze-like Pathway: Could be guiding fluids or samples through a predefined process.
Circular Section with Red Dot: Might indicate a reaction or test result.
Transparent Area with Yellow Substance: Could be a reagent or processed sample.

## Slide 8: FINAL INSPECTION PROCEDURE:
The final inspection procedure includes:
Visual inspection for surface defects, discoloration, or deformities.
Dimensional checks using precision instruments like calipers and gauges.
Documentation of inspection results and batch traceability.

## Slide 9
Physical Defects:
  Cracks or damage to the casing.
  Misalignment of components.
  Improper sealing or leakage.

## Slide 10
2.Functional Failures:
  Inconsistent fluid flow or blockage in pathways.
  QR code unreadable or incorrect labeling.
  Failure in chemical reaction or sample Processing.

## Slide 11
3.Contamination Issues:
  Presence of foreign particles or dust.
  Improper sterilization (if used in medical applications).
  Discoloration or unexpected chemical reactions.

## Slide 12
4.Manufacturing Errors:
Incorrect assembly of internal components.
Defective materials affecting performance.
Non-compliance with industry standards.
FQC typically follows Acceptance Quality Limit (AQL) standards, where defects are categorized as critical, major, or minor. If a cartridge fails inspection, it may be reworked, scrapped, or sent for further analysis depending on the severity of the issue.

## Slide 13: TOOLS AND EQUIPMENT USED
The tools used during the inspection include:
Magnifying lens to detect minor rejections.
Scanning machine to scan the product.
Inspection Sheets: for recording measurements.
PPE: Safety gear to protect inspectors from hazards.

## Slide 14: CHALLENGES FACED
Several challenges arise during inspection:
Identifying fine cracks or subtle defects.
Managing the high volume of parts within limited time.
Maintaining focus to avoid human error.
Recording and tracking defect data efficiently.

## Slide 15: LEARNINGS AND SKILLS GAINED
During the internship, the following skills and experiences were gained:
Enhanced attention to detail and observational accuracy.
Knowledge of quality assurance methodologies.
Hands-on experience with industrial inspection tools.
Improved communication and teamwork in a production setting.

## Slide 16: CONCLUSION
The internship provided valuable exposure to industrial inspection and quality control. It highlighted the critical role of final inspection in ensuring product reliability and safety. The experience supports long-term goals of working in manufacturing or quality assurance roles.

## Slide 17: Thank you